## Slide 1: Chapter-9 Three-Phase Circuits
Subrahmanyam Gorthi
Department of Electrical Engineering, IIT – Tirupati
Email: s.gorthi@iittp.ac.in
Office: Faculty Room No: 6(E)

## Slide 2: Outline
Balanced Three-Phase (3-Φ) Voltages
Balanced Y-Y Connections
Balanced Y-Δ Connections
Balanced Δ-Δ Connections
Balanced Δ-Y Connections
Power in Balanced Systems

## Slide 3
Single-phase system: 2-wire type and 3-wire type

## Slide 4
Two-phase 3-wire system

## Slide 5
Three-phase 4-wire system

## Slide 6: Poly-Phase Circuits
Circuits / systems in which the AC sources operate at the same frequency, but different phases are known as poly-phase circuits/systems.
Since 3-phase system is by far the most prevalent and the most economical system, the discussion in this chapter is mainly on them!
Balanced phase voltages are equal in magnitude and are out of phase with each other by 120°.
A balanced load is one in which the phase impedances are equal in magnitude and in phase.

## Slide 7
  Advantages:
    Most of the electric power is generated and distributed in three-phase.
    The instantaneous power in a three-phase system can be constant. This results in uniform power transmission, less vibration of 3-phase machine.
    The amount of power, the three-phase system is more economical that the single-phase.
    In fact, the amount of wire required for a three-phase system is less than that required for an equivalent single-phase system.
Three-Phase Circuits

## Slide 11
(a) abc or Positive sequence
(a) acb or Negative sequence

## Slide 12
Balanced Three-Phase Voltages
A three-phase generator consists of a rotating magnet (rotor) surrounded by a stationary winding (stator).
A three-phase generator
The generated voltages

## Slide 13
Balanced Three-Phase Voltages
Two possible configurations:
Three-phase voltage sources: (a) Y-connected ; (b) Δ-connected

## Slide 14
Balanced Three-Phase Connection
Four possible connections
    Y-Y connection (Y-connected source with a Y-connected load)
    Y-Δ connection (Y-connected source with a Δ-connected load)
    Δ-Δ connection
    Δ-Y connection

## Slide 15
Balanced Three-Phase Connection

## Slide 16
Balanced Three-Phase Connection

## Slide 17
Balanced Three-Phase Connection
A balanced Y-Y system is a three-phase system with a balanced y-connected source and a balanced y-connected load.

## Slide 18
Balanced Three-Phase Connection
A balanced Y-Δ system is a three-phase system with a balanced y-connected source and a balanced Δ-connected load.

## Slide 19
Balanced Three-Phase Connection
A balanced Δ-Δ system is a three-phase system with a balanced Δ -connected source and a balanced Δ -connected load.

## Slide 20
Balanced Three-Phase Connection
A balanced Δ-Y system is a three-phase system with a balanced y-connected source and a balanced y-connected load.

## Slide 22
Balanced Three-Phase Voltages
Example 1
Determine the phase sequence of the set of voltages.

## Slide 23
Balanced Three-Phase Voltages
Solution:
The voltages can be expressed in phasor form as
We notice that Van leads Vcn by 120° and Vcn in turn leads Vbn by 120°.
Hence, we have an acb sequence.

## Slide 24
Balanced Three-Phase Connection
Example 2
Calculate the line currents in the three-wire Y-Y system shown below:

## Slide 25
Example 3
A balanced abc-sequence Y-connected source with ( ) is connected to a Δ-connected load (8+j4) per phase. Calculate the phase and line currents.
Balanced Three-Phase Connection
Solution
Using single-phase analysis,
Other line currents are obtained using the abc phase sequence

## Slide 26
Example 4
A balanced Δ-connected load having an impedance 20-j15  is connected to a Δ-connected positive-sequence generator having ( ). Calculate the phase currents of the load and the line currents.
Balanced Three-Phase Connection
Ans:
The phase currents
The line currents

## Slide 27
Balanced Three-Phase Connection
Answer
The phase currents
Example 5
A balanced Y-connected load with a phase impedance 40+j25  is supplied by a balanced, positive-sequence Δ-connected source with a line voltage of 210V. Calculate the phase currents. Use Vab as reference.

## Slide 28
Power in a Balanced Y-Load System

## Slide 29
Power in a Balanced Y-Load System

## Slide 30
Thus the total instantaneous power in a balanced 3-Φ system is constant – It does not change with time.
The result is true whether the load is Δ or Y.
This is one important reason for using 3-Φ system to generate and distribute power.
Power in a Balanced System

## Slide 31
Average power per phase:
Reactive power per phase:
Apparent power per phase:
Complex power per phase:
Power in a Balanced System

## Slide 32
Power in a Balanced System
Total Average Power:
Total Reactive Power:
Total Complex Power:
Alternative Expression for Total Complex Power:

## Slide 33
Power in a Balanced System
Comparing the power loss in (a) a single-phase system, and (b) a three-phase system

## Slide 34
Balanced Three-Phase Connection
Example 6
Determine the total average power, reactive power, and complex power at the source and at the load for the three-wire Y-Y system shown below:

## Slide 35
Balanced Three-Phase Connection
Solution:

## Slide 36
Power in a Balanced System
If same power loss is tolerated in both system, three-phase system use only 75% of materials of a single-phase system

## Slide 37: Questions?